## Sheet1
Raw and Concentration Results from Analytical Run 10 analyzed 17-Dec-2019 using Assay M1803021 on Instrument Sciex Analyst (Study Quantification of Cabozantinib (XL184) in Human Plasma Using LC-MS/MS)
Seq. Number | Sample Name | Area | Ret Time | IS Area | IS Ret Time | Instrument Response | Assay Date/Time | File Name | Dilution Factor | Analyte | Internal Standard | Conc. (ng/mL) | Eliminated
1 | 1810020 SES | 1839 | 0.867 | 114202 | 0.862 | 0.016103 | 17-Dec-2019 16:27:26 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | BLOQ
2 | 1810020 SES | 2062 | 0.871 | 122614 | 0.862 | 0.016817 | 17-Dec-2019 16:31:34 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | BLOQ
3 | 1810020 STD-0.5 1 | 1707 | 0.866 | 92078 | 0.862 | 0.018539 | 17-Dec-2019 16:35:42 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 0.498
4 | 1810020 STD-1 1 | 3937 | 0.868 | 113874 | 0.861 | 0.034573 | 17-Dec-2019 16:39:49 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 0.951
5 | 1810020 STD-4 1 | 14413 | 0.868 | 94093 | 0.863 | 0.15318 | 17-Dec-2019 16:43:59 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 4.3
6 | 1810020 STD-20 1 | 66828 | 0.869 | 90686 | 0.864 | 0.73692 | 17-Dec-2019 16:48:05 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 20.8
7 | 1810020 STD-100 1 | 307989 | 0.869 | 90634 | 0.865 | 3.3982 | 17-Dec-2019 16:52:13 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 95.9
8 | 1810020 STD-400 1 | 1043301 | 0.869 | 71698 | 0.864 | 14.5513 | 17-Dec-2019 16:56:21 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 411
9 | 1810020 STD-800 1 | 2433959 | 0.87 | 87161 | 0.866 | 27.9249 | 17-Dec-2019 17:00:30 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 788
10 | 1810020 STD-1000 1 | 3930604 | 0.87 | 105650 | 0.863 | 37.204 | 17-Dec-2019 17:04:40 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 1050
11 | 1810020 MBLK | 0 | 0 | 0 | 0 |  | 17-Dec-2019 17:08:49 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | BLOQ
12 | 1810020 MBLK | 0 | 0 | 0 | 0 |  | 17-Dec-2019 17:12:56 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | BLOQ
13 | 1810020 MBLK | 0 | 0 | 0 | 0 |  | 17-Dec-2019 17:17:05 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | BLOQ
14 | 1810020 MBLK | 0 | 0 | 0 | 0 |  | 17-Dec-2019 17:21:13 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | BLOQ
15 | 1810020 CTL-0 | 0 | 0 | 194935 | 0.864 | 0 | 17-Dec-2019 17:25:21 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | BLOQ
16 | 1810020 LQC 1 | 14203 | 0.872 | 261575 | 0.865 | 0.054298 | 17-Dec-2019 17:29:29 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 1.51
17 | 1810020 MQC 1 | 723656 | 0.87 | 256601 | 0.864 | 2.8202 | 17-Dec-2019 17:33:35 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 79.6
18 | 1810020 HQC 1 | 6363224 | 0.87 | 224535 | 0.864 | 28.3396 | 17-Dec-2019 17:37:43 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 800
19 | 1810020 DQC 1 | 2375750 | 0.87 | 253504 | 0.864 | 9.3716 | 17-Dec-2019 17:41:53 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 2650
20 | 1810020 S326 7023-3342 XL184 W1D1 CABOZ PK PRE PLM-1 | 85 | 0.857 | 235470 | 0.865 | 0.000361 | 17-Dec-2019 17:45:58 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | BLOQ
21 | 1810020 S327 7103-3244 XL184 W1D1 CABOZ PK PRE PLM-1 | 0 | 0 | 200343 | 0.865 | 0 | 17-Dec-2019 17:50:10 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | BLOQ
22 | 1810020 S328 7103-3246 XL184 W1D1 CABOZ PK PRE PLM-1 | 0 | 0 | 229759 | 0.864 | 0 | 17-Dec-2019 17:54:19 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | BLOQ
23 | 1810020 S329 7103-3246 XL184 W4D1 CABOZ PK PRE PLM-1 | 92425 | 0.869 | 271947 | 0.864 | 0.33986 | 17-Dec-2019 17:58:32 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 95.7
24 | 1810020 S330 7106-3224 XL184 W1D1 CABOZ PK PRE PLM-1 | 0 | 0 | 253345 | 0.866 | 0 | 17-Dec-2019 18:02:42 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | BLOQ
25 | 1810020 S331 7106-3284 XL184 W1D1 CABOZ PK PRE PLM-1 | 0 | 0 | 295394 | 0.866 | 0 | 17-Dec-2019 18:06:50 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | BLOQ
26 | 1810020 S332 7201-3221 XL184 W1D1 CABOZ PK PRE PLM-1 | 0 | 0 | 246953 | 0.866 | 0 | 17-Dec-2019 18:11:02 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | BLOQ
27 | 1810020 S333 7201-3221 XL184 W4D1 CABOZ PK PRE PLM-1 | 1059283 | 0.871 | 294478 | 0.865 | 3.5972 | 17-Dec-2019 18:15:12 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 1020
28 | 1810020 S334 7203-3377 XL184 W1D1 CABOZ PK PRE PLM-1 | 0 | 0 | 254408 | 0.866 | 0 | 17-Dec-2019 18:19:23 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | BLOQ
29 | 1810020 S335 8501-3043 XL184 W10D1 CABOZ PK PRE PLM-1 | 818913 | 0.873 | 279645 | 0.869 | 2.9284 | 17-Dec-2019 18:23:34 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 826
30 | 1810020 S336 8501-3043 XL184 W13D1 CABOZ PK PRE PLM-1 | 4953 | 0.874 | 258993 | 0.867 | 0.019124 | 17-Dec-2019 18:27:44 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 5.15
31 | 1810020 S337 8501-3044 XL184 W10D1 CABOZ PK PRE PLM-1 | 1619922 | 0.872 | 239244 | 0.867 | 6.771 | 17-Dec-2019 18:31:55 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 1910
32 | 1810020 S338 8501-3044 XL184 W13D1 CABOZ PK PRE PLM-1 | 462595 | 0.874 | 318514 | 0.868 | 1.4524 | 17-Dec-2019 18:36:03 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 410
33 | 1810020 S339 8501-3069 XL184 W10D1 CABOZ PK PRE PLM-1 | 1318106 | 0.872 | 321242 | 0.868 | 4.1032 | 17-Dec-2019 18:40:14 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 1160
34 | 1810020 S340 8501-3069 XL184 W13D1 CABOZ PK PRE PLM-1 | 2264503 | 0.873 | 263559 | 0.867 | 8.592 | 17-Dec-2019 18:44:26 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 2430
35 | 1810020 S341 8501-3087 XL184 W7D1 CABOZ PK PRE PLM-1 | 1612983 | 0.873 | 284706 | 0.867 | 5.6654 | 17-Dec-2019 18:48:38 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 1600
36 | 1810020 S342 8501-3087 XL184 W10D1 CABOZ PK PRE PLM-1 | 79432 | 0.872 | 316637 | 0.867 | 0.25086 | 17-Dec-2019 18:52:50 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 70.6
37 | 1810020 S343 8501-3087 XL184 W13D1 CABOZ PK PRE PLM-1 | 1418393 | 0.873 | 275045 | 0.867 | 5.1569 | 17-Dec-2019 18:57:01 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 1460
38 | 1810020 S344 8501-3117 XL184 W7D1 CABOZ PK PRE PLM-1 | 1988771 | 0.874 | 322713 | 0.867 | 6.1627 | 17-Dec-2019 19:01:12 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 1740
39 | 1810020 S345 8501-3117 XL184 W10D1 CABOZ PK PRE PLM-1 | 2183230 | 0.873 | 306273 | 0.868 | 7.1284 | 17-Dec-2019 19:05:24 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 2010
40 | 1810020 S346 8501-3125 XL184 W4D1 CABOZ PK PRE PLM-1 | 616076 | 0.873 | 279699 | 0.868 | 2.2026 | 17-Dec-2019 19:09:35 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 622
41 | 1810020 S347 8501-3125 XL184 W7D1 CABOZ PK PRE PLM-1 | 472213 | 0.875 | 232969 | 0.867 | 2.0269 | 17-Dec-2019 19:13:48 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 572
42 | 1810020 S348 8501-3125 XL184 W10D1 CABOZ PK PRE PLM-1 | 49789 | 0.875 | 251167 | 0.869 | 0.19823 | 17-Dec-2019 19:18:02 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 55.7
43 | 1810020 S349 8501-3126 XL184 W7D1 CABOZ PK PRE PLM-1 | 1856103 | 0.875 | 302604 | 0.869 | 6.1338 | 17-Dec-2019 19:22:15 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 1730
44 | 1810020 S350 8501-3126 XL184 W10D1 CABOZ PK PRE PLM-1 | 1085608 | 0.874 | 269082 | 0.869 | 4.0345 | 17-Dec-2019 19:26:26 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 1140
45 | 1810020 S351 8501-3132 XL184 W4D1 CABOZ PK PRE PLM-1 | 1782402 | 0.873 | 250320 | 0.868 | 7.1205 | 17-Dec-2019 19:30:38 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 2010
46 | 1810020 S352 8501-3132 XL184 W7D1 CABOZ PK PRE PLM-1 | 4028862 | 0.875 | 300322 | 0.87 | 13.4151 | 17-Dec-2019 19:34:46 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 3790
47 | 1810020 S353 8501-3179 XL184 W1D1 CABOZ PK PRE PLM-1 | 0 | 0 | 249584 | 0.87 | 0 | 17-Dec-2019 19:38:57 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | BLOQ
48 | 1810020 S354 8501-3179 XL184 W4D1 CABOZ PK PRE PLM-1 | 1372045 | 0.876 | 313154 | 0.872 | 4.3814 | 17-Dec-2019 19:43:11 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 1240
49 | 1810020 S355 8501-3179 XL184 W7D1 CABOZ PK PRE PLM-1 | 24713 | 0.875 | 308518 | 0.872 | 0.080102 | 17-Dec-2019 19:47:23 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 22.4
50 | 1810020 S356 8501-3282 XL184 W1D1 CABOZ PK PRE PLM-1 | 1116 | 0.879 | 176404 | 0.871 | 0.006326 | 17-Dec-2019 19:51:35 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | BLOQ
51 | 1810020 S357 8501-3282 XL184 W4D1 CABOZ PK PRE PLM-1 | 1094167 | 0.878 | 240037 | 0.874 | 4.5583 | 17-Dec-2019 19:55:48 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 1290
52 | 1810020 S359 8502-3035 XL184 W13D1 CABOZ PK PRE PLM-1 | 0 | 0 | 290267 | 0.874 | 0 | 17-Dec-2019 20:00:00 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | BLOQ
53 | 1810020 S358 8502-3035 XL184 HEPATITIS PLM-1 | 0 | 0 | 269774 | 0.876 | 0 | 17-Dec-2019 20:04:13 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | BLOQ
54 | 1810020 S360 8502-3066 XL184 W7D1 CABOZ PK PRE PLM-1 | 1513101 | 0.883 | 199914 | 0.878 | 7.5688 | 17-Dec-2019 20:08:25 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 2140
55 | 1810020 S362 8502-3066 XL184 W10D1 CABOZ PK PRE PLM-1 | 1081598 | 0.885 | 284063 | 0.881 | 3.8076 | 17-Dec-2019 20:12:38 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 1070
56 | 1810020 S361 8502-3066 XL184 HEPATITIS PLM-1 | 1763237 | 0.887 | 288745 | 0.882 | 6.1066 | 17-Dec-2019 20:16:52 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 1720
57 | 1810020 S363 8502-3129 XL184 W4D1 CABOZ PK PRE PLM-1 | 37668 | 0.888 | 254305 | 0.884 | 0.14812 | 17-Dec-2019 20:21:04 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 41.6
58 | 1810020 S364 8502-3129 XL184 W7D1 CABOZ PK PRE PLM-1 | 976348 | 0.888 | 188678 | 0.882 | 5.1747 | 17-Dec-2019 20:25:17 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 1460
59 | 1810020 S365 8502-3134 XL184 W4D1 CABOZ PK PRE PLM-1 | 1595138 | 0.889 | 304680 | 0.883 | 5.2355 | 17-Dec-2019 20:29:30 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 1480
60 | 1810020 S366 8502-3134 XL184 W7D1 CABOZ PK PRE PLM-1 | 2159136 | 0.89 | 221028 | 0.884 | 9.7686 | 17-Dec-2019 20:33:44 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 2760
61 | 1810020 S367 8502-3172 XL184 W1D1 CABOZ PK PRE PLM-1 | 0 | 0 | 200844 | 0.886 | 0 | 17-Dec-2019 20:37:57 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | BLOQ
62 | 1810020 S368 8502-3172 XL184 W4D1 CABOZ PK PRE PLM-1 | 1577751 | 0.891 | 345274 | 0.887 | 4.5696 | 17-Dec-2019 20:42:08 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 1290
63 | 1810020 LQC 2 | 10953 | 0.892 | 211466 | 0.887 | 0.051796 | 17-Dec-2019 20:46:21 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 1.44
64 | 1810020 MQC 2 | 546466 | 0.891 | 204600 | 0.886 | 2.6709 | 17-Dec-2019 20:50:34 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 75.4
65 | 1810020 HQC 2 | 6027443 | 0.893 | 221182 | 0.887 | 27.2511 | 17-Dec-2019 20:54:48 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 769
66 | 1810020 DQC 2 | 2092369 | 0.893 | 227401 | 0.888 | 9.2012 | 17-Dec-2019 20:59:01 | 1810020-B10.wiff | 10 | XL184 | XL184-d4 | 2600
67 | 1810020 STD-0.5 2 | 5883 | 0.89 | 305671 | 0.886 | 0.019246 | 17-Dec-2019 21:03:13 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 0.518
68 | 1810020 STD-1 2 | 8267 | 0.895 | 290475 | 0.887 | 0.02846 | 17-Dec-2019 21:07:26 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | * 0.778 | Eliminated
69 | 1810020 STD-4 2 | 38263 | 0.894 | 315596 | 0.888 | 0.12124 | 17-Dec-2019 21:11:40 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 3.4
70 | 1810020 STD-20 2 | 127842 | 0.895 | 179122 | 0.889 | 0.71371 | 17-Dec-2019 21:15:53 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 20.1
71 | 1810020 STD-100 2 | 1108677 | 0.896 | 302456 | 0.89 | 3.6656 | 17-Dec-2019 21:20:07 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 103
72 | 1810020 STD-400 2 | 4475158 | 0.894 | 312163 | 0.89 | 14.336 | 17-Dec-2019 21:24:17 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 405
73 | 1810020 STD-800 2 | 8850349 | 0.898 | 316174 | 0.891 | 27.992 | 17-Dec-2019 21:28:33 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 790
74 | 1810020 STD-1000 2 | 8990628 | 0.901 | 256118 | 0.895 | 35.1035 | 17-Dec-2019 21:32:48 | 1810020-B10.wiff | 1 | XL184 | XL184-d4 | 991
* Sample Deactivated